## Instructions for Use
GENERAL INFORMATION & GUIDANCE FOR USING THIS REFRIGERANT MONITORING TOOL
- | The workbook comprises 10 F Gas log sheets (labelled 'System 1' to 'System 10'), an 'F Gas Log Summary' sheet and an 'Information and Guidance' sheet
- | The individual sheets have protection enabled, but there is no password. It is recommended that the protection is left in place during normal use.
- | The protection can be disabled by experienced Excel users, for customising individual sheets or inserting additional System Log sheets (take care as some formulae are hidden)
- | Supervisors and managers can add their own password if required, to prevent unauthorised modifications
- | Data should be entered only in the cells that are coloured light yellow - these cells are unlocked, but some include data validity checks (with warnings for invalid data) and pull down menus
- | Cells that are coloured mid-blue and grey are locked cells and cannot be overwritten when protection is enabled. Data is written automatically into the blue cells
- | There are in-built links between the 'System' sheets, the 'FGas Log Summary' sheet and the 'Information & Guidance' sheet (take care not to break them when making any changes)
- | Avoid over-writing existing data and ensure that you re-save the file after adding new data
SETTING UP THE REFRIGERANT MONITORING TOOL
- | Start by entering the site details in the 'FGas Log Summary' sheet, in the light yellow cells (this information will be copied to the individual log sheets)
- | Enter basic details for your first RAC system in the cells at the top of the 'System 1' sheet. Input as many system parameters as possible (they are useful for data analysis)
- | You must select a refrigerant type from the pull-down list. If your refrigerant type is not listed you can add the details to the 'Information & Guidance' sheet - see Adding New Refrigerants
- | Repeat for all the systems on site that contain more than 3kg of HFC refrigerant (it is a legal requirement under the FGas Regulations to maintain a log for such systems)
- | It is recommended that you also include systems containing >3kg of HCFC refrigerants - under the ODS Regulations you are required to perform annual leak checks and recover refrigerant
- | Once the tool has been set up you should use it to record all system repair and maintenance activities and refrigerant additions and removals, as well as leak checks
ADDING DATA (use the appropriate section of the system log sheet)
- | Refrigerant Additions - ensure that you record the date, amount and reason for the addition, including a note of any component fault identified
- | Refrigerant Removals - record date, amount and the reason for removing refrigerant. You should also note whether the refrigerant was re-used or removed from site for recovery or disposal
- | Leak Tests - ensure that you record details of all leak testing undertaken, along with results and any follow up/ repair actions required
- | Follow up/ Repair Actions - use this section to record all rectification or repair work undertaken, including location and details of any items repaired or replaced
- | Testing of Automatic Leak Detection Systems (if fitted) - these must be checked at least once a year to ensure proper functioning. Use this section to record results
- | Any refrigerant additionas or removals that you have entered will be graphed automatically in the individual 'System' sheets and transferred to the 'FGas Log Summary' sheet
- | You can insert new rows if you need more space (even to a protected worksheet) - ensure the new row is inserted one above the bottom row to ensure the new data is captured and graphed
F GAS LOG SUMMARY
- | Data is transferred automatically to this sheet to produce a summary for all the RAC systems on the site and can be used for management reporting
- | The sheet includes a calculation of the equivalent carbon emissions of all the refrigerant used over the stated period, as well as a graphical representation of refrigerant use for each system
INFORMATION & GUIDANCE TAB
- | This sheet includes several web links, the REAL Zero guidance notes and F Gas Support guidance notes (as pdf files)
- | To open a pdf file double-click on the relevant icon. If you do not have a suitable version of the Adobe Reader you can download a later version by clicking on the Adobe link
- | Warning! - The pdf icons cannot be locked, so it is possible to move and even delete them
- | The sheet also lists the refrigerant types that can be selected from the pull down list in each System Log sheet. There is space to add additional site-specific refrigerant types
- | Adding New Refrigerants - in the Information and Guidance sheet insert the refrigerant details in the light yellow cells (ensure you follow the instructions in the note below these cells)
- | New refrigerant details in the yellow cells will be picked up automatically by the other sheets

## Information & Guidance
|  | Real Zero - Guides |  | Refrigerant GWPs
IMPORTANT: From 1st January 2020 a requirement of Regulation 517/2014 comes into force, which will ban the use of F-gases with a Global Warming Potential (GWP) of 2500 (ie R404A) or more to service or maintain refrigerant equipment. This will only apply to equipment with a charge size of 40 tonnes CO2e. |  |  |  | Refrigerant | GWP(CO2=1)
|  |  |  | R134a | 1430
|  |  |  | R22 | 1780
|  |  |  | R403A | 2520
|  |  |  | R403B | 3570
|  |  |  | R404A | 3922
|  |  |  | R407C | 1774
|  |  |  | R408A | 3102
|  |  |  | R409A | 1558
Useful Web Links |  |  |  | R410A | 2088
|  |  |  | R422D | 2620
Institute of Refrigeration | www.ior.org.uk |  |  | R407A | 2107
Real Zero | www.realzero.org.uk |  |  | R407F | 1825
Defra (FGas Support) | www.defra.gov.uk/fgas |  |  | R448A | 1387
The Carbon Trust | www.carbontrust.co.uk |  |  | R449A | 1397
ACRIB | www.acrib.org.uk |  |  | NOTE: use yellow cells to add other refrigerants to the table (you must add 'S-' prefix and list in ascending order to ensure correct operation of the lookup function)
BSI | www.bsi-global.com
Real Zero Guides - Index
|  | GN 1 | Guide to Good Leak Testing
|  | GN 2 | Illustrated Guide to 13 Leak Points
|  | GN 3 | Designing Out Leaks
|  | GN 4 | Leakage Matter - For Service & maintenance Contractors
|  | GN 5 | Leakage Matters - For Equipment Owners

## FGas Log Summary
F Gas Refrigerant Monitoring Tool
Tradewinds Engineering - www.tradewindsgroup.co.uk
Vessel Name:
Flagged Country:
Vessel Length: |  |  |  |  | Contact Email:
Time Period Recorded |  | From: | 0 |  | To: |  | 0
|  |  | REFRIGERANT |  | TIME PERIOD |  |  | REFRIGERANT LOSS |  |  | REFRIGERANT EMISSIONS
System No. | Plant Name | Plant Reference No. | Refrigerant Type | Refrigerant GWP (relative to CO2) | First Record Date | Latest Record Date | Period Covered (years) | Total Refrigerant Use (kg) | 12 Month Equivalent Use of Refrigerant (kg p.a.) | 12 Month Equivalent Loss of Charge (% p.a.) | Carbon Equivalent of Lost Refrigerant (tonneCO2e) | 12 Month Carbon Equivalent of Lost Refrigerant (tonneCO2e p.a.)
1 | Chiller 1 | AC Chiller 1 - CKT 1 | R407C | 1774 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
2 | Chiller 1 | AC Chiller 1 - CKT 2 | R407C | 1774 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
3 | Chiller 2 | AC Chiller 2 - CKT 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
4 | Chiller 2 | AC Chiller 2 - CKT 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
9 | Provisions Refrigeration System | Circuit 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
10 | Provisions Refrigeration System | Circuit 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
Prov | Provisions Refrigeration System | Circuit 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0
[6 empty] | Totals (all systems) |  | 0 | 0 |  | 0 | 0
Time Period Covered by This Report (years) |  | 0
Carbon Equivalent of Refrigerant Emissions Over This Period (tonneCO2e) |  | 0
12 Month Carbon Equivalent of Refrigerant Emissions (tonneCO2e p.a.) |  | 0
Total Refrigerant Used Over This Period - All Systems (kg) |  | 0
Total Entrained Mass of Refrigerant - All Systems (kg) |  | 0
Total Refrigerant Charge Lost Over This Period - All Systems (%) |  | #DIV/0!

## AC Chiller 1 - CKT 1
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Chiller 1 |  | Plant Reference No. |  | AC Chiller 1 - CKT 1 | R404A
Location of Plant: | Engine Room |  |  |  |  | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  | R407C | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC Chiller 1 - CKT 2
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Chiller 1 |  | Plant Reference No. |  | AC Chiller 1 - CKT 2 | R404A
Location of Plant: | [5 empty] | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  | R407C | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC Chiller 2 - CKT 1
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Chiller 2 |  | Plant Reference No. |  | AC Chiller 2 - CKT 1 | R404A
Location of Plant: | [5 empty] | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC Chiller 2 - CKT 2
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Chiller 2 |  | Plant Reference No. |  | AC Chiller 2 - CKT 2 | R404A
Location of Plant: | [5 empty] | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC5
General Information |  |  |  |  | R134a
Vessel Name: | 0 |  |  |  | R22
Flagged Country: | 0 |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 | R403B
Plant Name: |  |  | Plant Reference No. |  | R404A
Location of Plant: |  |  |  |  | R407C
Operator Contact Details (inc. phone/ e-mail): |  |  |  |  | R408A
Cooling Loads Served: |  |  |  |  | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  | R407F
R448A
Refrigerant Additions |  |  |  |  | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC6
General Information |  |  |  |  | R134a
Vessel Name: | 0 |  |  |  | R22
Flagged Country: | 0 |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 | R403B
Plant Name: |  |  | Plant Reference No. |  | R404A
Location of Plant: |  |  |  |  | R407C
Operator Contact Details (inc. phone/ e-mail): |  |  |  |  | R408A
Cooling Loads Served: |  |  |  |  | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  | R407F
R448A
Refrigerant Additions |  |  |  |  | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC7
General Information |  |  |  |  | R134a
Vessel Name: | 0 |  |  |  | R22
Flagged Country: | 0 |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 | R403B
Plant Name: |  |  | Plant Reference No. |  | R404A
Location of Plant: |  |  |  |  | R407C
Operator Contact Details (inc. phone/ e-mail): |  |  |  |  | R408A
Cooling Loads Served: |  |  |  |  | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  | R407F
R448A
Refrigerant Additions |  |  |  |  | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## AC8
General Information |  |  |  |  | R134a
Vessel Name: | 0 |  |  |  | R22
Flagged Country: | 0 |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 | R403B
Plant Name: |  |  | Plant Reference No. |  | R404A
Location of Plant: |  |  |  |  | R407C
Operator Contact Details (inc. phone/ e-mail): |  |  |  |  | R408A
Cooling Loads Served: |  |  |  |  | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  | R407F
R448A
Refrigerant Additions |  |  |  |  | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## Provisions Refrigeration - CKT1
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Provisions Refrigeration System |  | Plant Reference No. |  | Circuit 1 | R404A
Location of Plant: | [5 empty] | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## Provisions Refrigeration - CKT2
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Provisions Refrigeration System |  | Plant Reference No. |  | Circuit 2 | R404A
Location of Plant: | [5 empty] | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments

## Provisions Refrigeration - CKT3
General Information | [5 empty] | R134a
Vessel Name: | 0 |  |  |  |  | R22
Flagged Country: | 0 |  |  |  |  | R403A
Vessel Length: | 0 |  | Contact Email: | 0 |  | R403B
Plant Name: | Provisions Refrigeration System |  | Plant Reference No. |  | Circuit 3 | R404A
Location of Plant: | [5 empty] | R407C
Operator Contact Details (inc. phone/ e-mail): | [5 empty] | R408A
Cooling Loads Served: | [5 empty] | R409A
Refrigerant Type: |  |  | Refrigerant Quantity (Entrained Mass) kg: |  |  | R410A
System Thermal Cooling Capacity (kW) |  |  | Receiver Capacity (L) |  |  | R422D
System Electrical Rating (Voltage/Current or kVA) |  |  | Fixed Leak Detection (record type if fitted) |  |  | R407A
Plant Manufacturer: |  |  | Year of Installation: |  |  | R407F
R448A
Refrigerant Additions | [5 empty] | R449A
Date (dd/mm/yy) | Technician/ Company | Amount Added (kg) | Reason for Addition (note faulty components here and record repair actions below) |  |  | Amount Added (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Additions |  | 0
Refrigerant Removals
Date (dd/mm/yy) | Technician/ Company | Amount Removed (kg) | Reason for Removal (including what was done with recovered refrigerant) |  |  | Amount Removed (kg)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Total Refrigerant Removals |  | 0
Net Refrigerant Loss kg (total additions minus total removals) |  | 0
Percentage of System Charge Lost (entrained volume) |  | 0%
First Record Date for Additions & Removals |  | 0
Latest Record Date for Additions and Removals |  | 0
Leak Tests
Date (dd/mm/yy) | Technician/ Company | Test Result (including location & cause of any leaks identified) |  | Follow Up/ Repair Actions Required
Follow-up/ Repair Actions
Date (dd/mm/yy) | Technician/ Company | Related to Test on dd/mm/yy | Actions Taken
Testing of Automatic Leak Detection Systems (if fitted)
Date (dd/mm/yy) | Technician/ Company | Test Result |  | Comments